## Slide 1: Instruments in Bariatric Surgery
Dr Tulip

## Slide 2: Trocars
Reusable and Disposable
Regular and Bariatric length
Reusable 10mm and 5mm
Reusable 3 in one
15mm /12mm disposable

## Slide 3: Bowel graspers
Bariatric length

## Slide 4: Bariatric Pencil grip Graspers
Crocodile
Duckbill

## Slide 5: Hormonic Ace

## Slide 6: Bariatric length
Monopolar hook : LC
Bipolar forceps
Hormonic Ace
Suction Cannula
Needle holders

## Slide 7: Needle holder

## Slide 8: Calibration Tubes

## Slide 9: Goldfinger

## Slide 10: Liver retractor